## Motor Control Plan
App B Competencies Title | App B Competencies Subsecton(s) | Employer Input (Importance/Frequency) | Learning Objectives | Course Assessment(s) | Learning Activities | Resources (Content) | Completed
ELECTRONICS-MECHANIC (CNC SYSTEMS MAINTENANCE) | Safety - Fundamentals | Very Important/Everyday | Electrical Safety | Hands On Activity 1, Online Quiz | Discuss Electrical Safety | Presentation slides, interactive online activities, online quiz | N/A
ELECTRONICS-MECHANIC (CNC SYSTEMS MAINTENANCE) | Safety - Trade Safety | Very Important/Everyday | Disconnects / Protective Devices | Hands On Activity 1, Online Quiz | Discuss Disconnects / Protective Devices | Presentation slides, interactive online activities, online quiz | N/A
ELECTRONICS-MECHANIC (CNC SYSTEMS MAINTENANCE) | Trade Theory - Industrial Electricity | Very Important/Everyday | 3-Phase Power | Hands On Activity 1, Online Quiz | Discuss 3-Phase Power | Presentation slides, interactive online activities, online quiz | N/A
ELECTRONICS-MECHANIC (CNC SYSTEMS MAINTENANCE) | Safety - Fundamentals, Trade Theory - Industrial Electricity, Safety - Trade Safety | Very Important/Everyday | Hands On Activity 1 | Completion of Hands On Activity 1 | Perform hands on activites to include: 1) Overview of Electric Motor Control System 2) Perform a Lockout/Tagout 3) Use a Voltmeter to verify supply voltage 4) Use a digital multimeter to check the condition of a fuse 5) Connect a dual-voltage 3-phase motor for low voltage operation 6) Connect a dual-voltage 3-phase motor for high voltage operation | Electric motor control system lab equipment, voltmeter, multimeter, fuses, 3-phase motor, lockout/tagout device | N/A
ELECTRONICS-MECHANIC (CNC SYSTEMS MAINTENANCE) | Trade Theory - Industrial Electricity | Very Important/Everyday | Manual Motor Control | Hands On Activity 2, Online Quiz | Discuss Manual Motor Control | Presentation slides, interactive online activities, online quiz | N/A
ELECTRONICS-MECHANIC (CNC SYSTEMS MAINTENANCE) | Trade Theory - Industrial Electricity | Very Important/Everyday | Manual Motor Starter Operations | Hands On Activity 2, Online Quiz | Discuss Manual Motor Starter Operations | Presentation slides, interactive online activities, online quiz | N/A
ELECTRONICS-MECHANIC (CNC SYSTEMS MAINTENANCE) | Trade Theory - Industrial Electricity | Very Important/Once a Month | Hands On Activity 2 | Completion of Hands On Activity 2 | Perform hands on activites to include: 1) Connect and operate a simple motor control circuit 2) Test the operation of a manual motor starter using a multimeter 3) Start and stop a motor using a manual starter 4) Test the low-voltage protection capabilities of a manual starter | Electric motor control system lab equipment, multimeter, motor starter, 3-phase motor, lockout/tagout device | N/A
ELECTRONICS-MECHANIC (CNC SYSTEMS MAINTENANCE) | Safety - Trade Safety | Very Important/Everyday | Overload Protection | Hands On Activity 3, Online Quiz | Discuss Overload Protection | Presentation slides, interactive online activities, online quiz | N/A
ELECTRONICS-MECHANIC (CNC SYSTEMS MAINTENANCE) | Safety - Trade Safety | Very Important/Everyday | Hands On Activity 3 | Completion of Hands On Activity 3 | Perform hands on activites to include: 1) Set the trip level of a bimetallic overload 2) Test the operation of a bimetallic overload | Electric motor control system lab equipment, multimeter, motor starter, 3-phase motor, lockout/tagout device | N/A
ELECTRONICS-MECHANIC (CNC SYSTEMS MAINTENANCE) | Trade Theory - Industrial Electronics | Very Important/Once a Week | Introduction to Transformers | Hands On Activity 4, Online Quiz | Discuss Introduction to Transformers | Presentation slides, interactive online activities, online quiz | N/A
ELECTRONICS-MECHANIC (CNC SYSTEMS MAINTENANCE) | Trade Theory - Industrial Electronics | Very Important/Once a Week | Hands On Activity 4 | Completion of Hands On Activity 4 | Perform hands on activites to include: 1) Calculate the turns ratio of a transformer 2) Calculate the secondary voltage of a transformer | Electric motor control system lab equipment, multimeter, motor starter, 3-phase motor, transformer, lockout/tagout device | N/A
ELECTRONICS-MECHANIC (CNC SYSTEMS MAINTENANCE) | Trade Theory - Industrial Electronics | Very Important/Once a Week | Control Transformer Operation | Hands On Activity 5, Online Quiz | Discuss Control Transformer Operation | Presentation slides, interactive online activities, online quiz | N/A
ELECTRONICS-MECHANIC (CNC SYSTEMS MAINTENANCE) | Trade Theory - Industrial Electronics | Very Important/Once a Week | Hands On Activity 5 | Completion of Hands On Activity 5 | Perform hands on activites to include: 1) Connect and operate a control transformer 2) Test a control transformer 3) Size a control transformer | Electric motor control system lab equipment, multimeter, motor starter, 3-phase motor, control transformer, lockout/tagout device | N/A
ELECTRONICS-MECHANIC (CNC SYSTEMS MAINTENANCE) | Trade Theory - Industrial Electronics | Very Important/Once a Week | Electical Control System Basics | Hands On Activity 6, Online Quiz | Discuss Electical Control System Basics | Presentation slides, interactive online activities, online quiz | N/A
ELECTRONICS-MECHANIC (CNC SYSTEMS MAINTENANCE) | Trade Theory - Industrial Electronics | Very Important/Once a Week | Hands On Activity 6 | Completion of Hands On Activity 6 | Perform hands on activites to include: 1) Connect and operate a basic electrical control circuit that uses a pushbutton switch 2) Connect and operate a basic electric control circuit using a selector switch | Electric motor control system lab equipment, control switches, push button switches, indicator lights lockout/tagout device | N/A
ELECTRONICS-MECHANIC (CNC SYSTEMS MAINTENANCE) | Trade Theory - Industrial Electronics | Very Important/Once a Week | Ladder Diagram Basics | Hands On Activity 7, Online Quiz | Discuss Ladder Diagram Basics | Presentation slides, interactive online activities, online quiz | N/A
ELECTRONICS-MECHANIC (CNC SYSTEMS MAINTENANCE) | Trade Theory - Industrial Electronics | Very Important/Once a Week | Hands On Activity 7 | Completion of Hands On Activity 7 | Perform hands on activites to include: 1) Draw a ladder diagram of a control circuit 2) Determine the operation of a control circuit given a ladder diagram 3) Connect and operate a control circuit given a ladder diagram | Electric motor control system lab equipment, control switches, push button switches, indicator lights lockout/tagout device | N/A
ELECTRONICS-MECHANIC (CNC SYSTEMS MAINTENANCE) | Trade Theory - Industrial Electronics | Very Important/Once a Week | Logic Elements | Hands On Activity 8, Online Quiz | Discuss Logic Elements | Presentation slides, interactive online activities, online quiz | N/A
ELECTRONICS-MECHANIC (CNC SYSTEMS MAINTENANCE) | Trade Theory - Industrial Electronics | Very Important/Once a Week | Hands On Activity 8 | Completion of Hands On Activity 8 | Perform hands on activites to include: 1) Connect and operate an AND logic circuit 2) Connect and operate an OR logic circuit 3) Connect and operate an NOT logic circuit 4) Connect and operate an NOR logic circuit 5) Connect and operate an NAND logic circuit | Electric motor control system lab equipment, control switches, push button switches, indicator lights lockout/tagout device | N/A
ELECTRONICS-MECHANIC (CNC SYSTEMS MAINTENANCE) | Trade Theory - Industrial Electronics | Very Important/Once a Week | Control Relays | Hands On Activity 9, Online Quiz | Discuss Control Relays | Presentation slides, interactive online activities, online quiz | N/A
ELECTRONICS-MECHANIC (CNC SYSTEMS MAINTENANCE) | Trade Theory - Industrial Electronics | Very Important/Once a Week | Magnetic Motor Starters | Hands On Activity 9, Online Quiz | Discuss Magnetic Motor Starters | Presentation slides, interactive online activities, online quiz | N/A
ELECTRONICS-MECHANIC (CNC SYSTEMS MAINTENANCE) | Trade Theory - Industrial Electronics | Very Important/Once a Week | Two-Wire Control | Hands On Activity 9, Online Quiz | Discuss Two-Wire Control | Presentation slides, interactive online activities, online quiz | N/A
ELECTRONICS-MECHANIC (CNC SYSTEMS MAINTENANCE) | Trade Theory - Industrial Electronics | Very Important/Once a Month | Hands On Activity 9 | Completion of Hands On Activity 9 | Perform hands on activites to include: 1) Connect and operate a control relay in a circuit 2) Connect and operate a memory logic circuit 3) Connect and operate a magnetic motor starter connected to a three-phase motor 4) Connect and operate a two-wire motor control circuit | Electric motor control system lab equipment, control switches, push button switches, indicator lights lockout/tagout device | N/A
ELECTRONICS-MECHANIC (CNC SYSTEMS MAINTENANCE) | Trade Theory - Industrial Electronics | Very Important/Once a Week | Three-Wire Start/Stop Control | Hands On Activity 10, Online Quiz | Discuss Three-Wire Start/Stop Control | Presentation slides, interactive online activities, online quiz | N/A
ELECTRONICS-MECHANIC (CNC SYSTEMS MAINTENANCE) | Trade Theory - Industrial Electronics | Very Important/Once a Week | Hands On Activity 10 | Completion of Hands On Activity 10 | Perform hands on activites to include: 1) Connect and operate a three-wire motor control circuit 2) Connect and operate a multiple operator station three-wire control circuit 3) Connect and operate a three-wire control circuit with a push-to-test pilot light | Electric motor control system lab equipment, control switches, push button switches, indicator lights lockout/tagout device | N/A
ELECTRONICS-MECHANIC (CNC SYSTEMS MAINTENANCE) | Trade Theory - Industrial Electronics | Very Important/Once aMonth | Manual Motor Reversing | Hands On Activity 11, Online Quiz | Discuss Manual Motor Reversing | Presentation slides, interactive online activities, online quiz | N/A
ELECTRONICS-MECHANIC (CNC SYSTEMS MAINTENANCE) | Trade Theory - Industrial Electronics | Very Important/Once aMonth | Reversing Magnetic Motor Starter | Hands On Activity 11, Online Quiz | Discuss Reversing Magnetic Motor Starter | Presentation slides, interactive online activities, online quiz | N/A
ELECTRONICS-MECHANIC (CNC SYSTEMS MAINTENANCE) | Trade Theory - Industrial Electronics | Very Important/Once a Month | Hands On Activity 11 | Completion of Hands On Activity 11 | Perform hands on activites to include: 1) Connect and operate a drum switch to reverse a motor 2) Connect and operate a reversing magnetic motor starter to reverse a motor | Electric motor control system lab equipment, control switches, push button switches, indicator lights lockout/tagout device | N/A
ELECTRONICS-MECHANIC (CNC SYSTEMS MAINTENANCE) | Trade Theory - Industrial Electronics | Very Important/Once aMonth | Interlocking for Reversing Motor Control | Hands On Activity 12, Online Quiz | Discuss Interlocking for Reversing Motor Control | Presentation slides, interactive online activities, online quiz | N/A
ELECTRONICS-MECHANIC (CNC SYSTEMS MAINTENANCE) | Trade Theory - Industrial Electronics | Very Important/Once a Month | Hands On Activity 12 | Completion of Hands On Activity 12 | Perform hands on activites to include: 1) Connect and operate a reversing motor circuit with mechanical and auxilary contact interlock 2) Design a reversing motor control circuit using pushbutton interlock | Electric motor control system lab equipment, control switches, push button switches, indicator lights lockout/tagout device | N/A
ELECTRONICS-MECHANIC (CNC SYSTEMS MAINTENANCE) | Trade Theory - Industrial Electronics | Very Important/Once aMonth | Modes of Operation | Hands On Activity 13, Online Quiz | Discuss Modes of Operation | Presentation slides, interactive online activities, online quiz | N/A
ELECTRONICS-MECHANIC (CNC SYSTEMS MAINTENANCE) | Trade Theory - Industrial Electronics | Very Important/Once aMonth | H-O-A Control | Hands On Activity 13, Online Quiz | Discuss H-O-A Control | Presentation slides, interactive online activities, online quiz | N/A
ELECTRONICS-MECHANIC (CNC SYSTEMS MAINTENANCE) | Trade Theory - Industrial Electronics | N/A | Hands On Activity 13 | Completion of Hands On Activity 13 | Perform hands on activites to include: 1) Connect and operate a control circuit to Jog a motor 2) Connect and operate a Forward/Reverse Jog Control Circuit 3) Connect and operate a hands-off automatic motor control circuit | Electric motor control system lab equipment, control switches, push button switches, indicator lights lockout/tagout device | N/A
ELECTRONICS-MECHANIC (CNC SYSTEMS MAINTENANCE) | Trade Theory - Industrial Electronics | Very Important/Once a Week | Limit Switches | Hands On Activity 14, Online Quiz | Discuss Limit Switches | Presentation slides, interactive online activities, online quiz | N/A
ELECTRONICS-MECHANIC (CNC SYSTEMS MAINTENANCE) | Trade Theory - Industrial Electronics | Very Important/Once a Week | Float Switches | Hands On Activity 14, Online Quiz | Discuss Float Switches | Presentation slides, interactive online activities, online quiz | N/A
ELECTRONICS-MECHANIC (CNC SYSTEMS MAINTENANCE) | Trade Theory - Industrial Electronics | Very Important/Once a Week | Pressure Switches | Hands On Activity 14, Online Quiz | Discuss Pressure Switches | Presentation slides, interactive online activities, online quiz | N/A
ELECTRONICS-MECHANIC (CNC SYSTEMS MAINTENANCE) | Trade Theory - Industrial Electronics | Very Important/Once a Week | Hands On Activity 14 | Completion of Hands On Activity 14 | Perform hands on activites to include: 1) Connect and operate a Limit Switch 2) Connect and operate a Float Switch 3) Connect and operate a Pump Control Circuit 4) Connect and operate a Pressure Switch 5) Connect and operate a Automatic Input Switch 6) Design an Overhead Door Motor Control Circuit | Electric motor control system lab equipment, control switches, push button switches, indicator lights lockout/tagout device | N/A
ELECTRONICS-MECHANIC (CNC SYSTEMS MAINTENANCE) | Trade Theory - Industrial Electronics | Very Important/Once a Week | Sequence Control | Hands On Activity 15, Online Quiz | Discuss Sequence Control | Presentation slides, interactive online activities, online quiz | N/A
ELECTRONICS-MECHANIC (CNC SYSTEMS MAINTENANCE) | Trade Theory - Industrial Electronics | Very Important/Once a Week | Hands On Activity 15 | Completion of Hands On Activity 15 | Perform hands on activites to include: 1) Connect and operate a Sequence Control circuit 2) Design a Sequence Control circuit | Electric motor control system lab equipment, control switches, push button switches, indicator lights lockout/tagout device | N/A
ELECTRONICS-MECHANIC (CNC SYSTEMS MAINTENANCE) | Trade Theory - Industrial Electronics | Important/Once a Week | On-Delay Timers | Hands On Activity 16, Online Quiz | Discuss On-Delay Timers | Presentation slides, interactive online activities, online quiz | N/A
ELECTRONICS-MECHANIC (CNC SYSTEMS MAINTENANCE) | Trade Theory - Industrial Electronics | Important/Once a Week | Off-Delay Timers | Hands On Activity 16, Online Quiz | Discuss Off-Delay Timers | Presentation slides, interactive online activities, online quiz | N/A
ELECTRONICS-MECHANIC (CNC SYSTEMS MAINTENANCE) | Trade Theory - Industrial Electronics | Important/Once a Week | Hands On Activity 16 | Completion of Hands On Activity 16 | Perform hands on activites to include: 1) Connect and operate an On-Delay Timer circuit 2) Connect and operate an Off-Delay Timer circuit 3) Test a timer relay circuit | Electric motor control system lab equipment, control switches, push button switches, indicator lights lockout/tagout device | N/A